Our Ref: 161709 Notice to Tenderers #1

# CIIC

# Apii Nikao Temporary Classrooms.

# Notice to tenderer No. 1

|  |  |  |  |
| --- | --- | --- | --- |
| Contract No: | C43/16 | Date: | 8/09/2016 |
| Tender Closing Date: | 16/09/2016 |  |  |
| Please acknowledge by return email at time of receipt and in a covering letter with your tender.  |

|  |  |  |
| --- | --- | --- |
| **No.** | **Question / Query or Amendment** | **Response, Clarification or Change** |
| 1.1 | *Technical Specifications allow for the use timber treatment as low as H1.2 for exterior elements such as bearers.**NZ building code does not permit the use of timber treatment lower than H3.2 for interior and exterior structures in the Pacific due to risk of termite damage.*  | All battens must be a minimum of H3.1. Incorporate attached pages for section 3821 (TIMBER FRAMING) in lieu of what was originally stated.  |
| 1.2  | *Particle board flooring**Particle board is rarely used locally because moisture compromises its strength.*  | Incorporate attached page (5433 PLYWOOD FLOORS) as an alternative solution.  |