Our Ref: 161709 Notice to Tenderers #1

# CIIC

# Apii Nikao Temporary Classrooms.

# Notice to tenderer No. 3

|  |  |  |  |
| --- | --- | --- | --- |
| Contract No: | C43/16 | Date: | 8/09/2016 |
| Tender Closing Date: | 22/09/2016 |  |  |
| Please acknowledge by return email at time of receipt and in a covering letter with your tender. | | | |

|  |  |  |
| --- | --- | --- |
| **No.** | **Question / Query or Amendment** | **Response, Clarification or Change** |
| 3.1 | *Product substitutions:*  *Can we substitute:* | Refer to section 5.2 of ATTACHMENT 2 – SCOPE OF WORKS.  Please provide price for hardwood and submit treated pine as an alternative. |
| 1. *Jacobsen carpet tiles for another similar product* |
| 1. *Jacobsen ceramic tiles for another similar product* |
| 1. *Hardwood Decking for Treated Pine?* |
| 3.2 | *Can wall frames be panelised off site?* | Refer to section 5.2 of ATTACHMENT 2 – SCOPE OF WORKS. |
| 3.3 | *Confirm dimensions for:*   1. *Thickness of internal plywood lining* | See 5122 PLYWOOD LININGS / 4 Selections / 4.1 Plywood lining |
| 1. *Pine Battens for the soffit linings* | 35mm x 70mm typical. Also, timber wall battens are typically 18-20mm thick. |
| 1. *Height of the lower longitudinal wall* | 2590mm from bottom plate to top plate |
| 3.4 | *How is the internal plywood lining to be fixed to the timber frame?* | See 5122 PLYWOOD LININGS / 4 Selections / 4.2 Fixings Plywood |
| 3.5 | *Is the plywood internal lining painted or clear finished?* | See 5122 PLYWOOD LININGS / 4 Selections / 4.1 Plywood lining |
| 3.6 | *Can you provide a Technical and Installation Brochure for:*   1. *James Hardie Homerab Pre-Cladding Rigid Air Barrier?* | See attached |
| 1. *Exotic Façade Panels?* |
| 1. *AUTEX Greenstuff Polyester Fibre Thermal Exterior Wall Insulation?* |
| 1. *Covertek Roofing Underlay?* |
| 3.7 | *Please specify the Expanded Polystyrene Denity – L, M or H?* | High. Please submit price option for Medium as well. |
| 3.8 | *Do you recommend a connection detail for the Posts to Beams and Decks?* | Submit selection for approval from the MiTek range or equivalent including bracing straps. Stainless steel is preferable. |
| 3.9 | *Drawing #D06/A03 Classroom2 shows a raked ceiling but Drawing #D03/A03 Classroom 2 shows a flat ceiling. Please confirm.* | The only flat ceiling in the project is located in the toilet area. Everywhere else is raked. Detail D03/AO3 is a perpendicular detail to D06/A03 which is why it looks flat. |