|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Appendix 2: PROPOSED PLAN FOR EXTENSION, SHOWER UNIT AND FENCING** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 2. Proposed fencing |  |  |  |  |
|  |  |   |   |   |   |   |   |   |   |   |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
| **HILL** |  |   |  |   |   |   |   |   |   |  |   |  | **MORGUE** |
|  |  |   |  |   |  |  |  |   |   | 3. Proposed shower |  |  |
|  |  |   |  |   |  |  |  |   |   | 2mtrs x 1.5mtrs |  |  |
|  |  |   |  |   |  |  |  |   | □ wash hand basin |   |  |  |
|  |  |   |  |   |  |  |  |   |  |  |   |  |  |
|  |  |   |  |   |  |  |  |   |  |  |   |  |  |
|  |  |   |  |   |  |  |  |   |  |  |   |  |  |
|  |  |   |  |   | Existing medical incinerator building |   |   |  |  |   |  |  |
|  |  |   |   |  |  |  |  |   |  |  |   |  |  |
|  |  |   |   |  | 1. Proposed Extension |   |  |  |   |  |  |
|  |  |   |   |  | 4 mtrs wide |  |   |  |  |   |  |  |
|  |  |   |   |  | 5 mtrs length |  |   |  |  |   |  |  |
|  |  |   |   |   |   |   |   |   |  |  |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
|  |  |   |  |  |  |  |  |  |  |  |   |  |  |
|  |  |   |   |   |   |   |   |   |   |   |   |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Notes:** |  |  |  |  |  |  |  |  |
| **No.** | **Description** | **Details** |
| **1** | Proposed Extension | a) Width - 4 mtrsb) Length - 5 mtrs |
| **2** | Proposed fencing | a) Diamond shape fencing - 30 mtrs x 3 mtrs heightb) Post: 20 x 100mmx100mm x 3.2mtrs heightc) staple pins: 200 |
| **3** | Proposed shower unit(concrete block) | a) Length - 2mtrsb) Width - 1.5mtrsc) Door - 80mm x 1.5d) Wash hand basin x 1e) Shower head x 1f) shower tap x 1g) shower tray x 1h) Eash hand baisin x 1i) Tap x 1j) Waste trap x 1k) Shower rose x 1l) waste pipe 4mtrs 100mm diam. |