|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Appendix 2: PROPOSED PLAN FOR EXTENSION, SHOWER UNIT AND FENCING** | | | | | | | |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 2. Proposed fencing | |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **HILL** |  |  |  |  |  |  |  |  |  |  |  |  | **MORGUE** |
|  |  |  |  |  |  |  |  |  |  | 3. Proposed shower | |  |  |
|  |  |  |  |  |  |  |  |  |  | 2mtrs x 1.5mtrs | |  |  |
|  |  |  |  |  |  |  |  |  | □ wash hand basin | |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Existing medical incinerator building | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1. Proposed Extension | | |  |  |  |  |  |  |
|  |  |  |  |  | 4 mtrs wide | |  |  |  |  |  |  |  |
|  |  |  |  |  | 5 mtrs length | |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Notes:** |  |  |  |  |  |  |  |  |
| **No.** | **Description** | | | **Details** | | | | |
| **1** | Proposed Extension | | | a) Width - 4 mtrs b) Length - 5 mtrs | | | | |
| **2** | Proposed fencing | | | a) Diamond shape fencing - 30 mtrs x 3 mtrs height b) Post: 20 x 100mmx100mm x 3.2mtrs height c) staple pins: 200 | | | | |
| **3** | Proposed shower unit (concrete block) | | | a) Length - 2mtrs b) Width - 1.5mtrs c) Door - 80mm x 1.5 d) Wash hand basin x 1 e) Shower head x 1 f) shower tap x 1 g) shower tray x 1 h) Eash hand baisin x 1 i) Tap x 1 j) Waste trap x 1 k) Shower rose x 1 l) waste pipe 4mtrs 100mm diam. | | | | |