## Grand Total
Cook Islands Grand TOTAL
Cable Laying Station | Price
Rarotonga CLS
Aitutaki CLS
TOTAL

## RAROTONGA
RAROTONGA Cable Landing Station
Cable Laying Station | Details | Unit Price | Quantity | Price
CLS Module fully finished as per TS
dimension | a x b x c
surface | m²
Sub-Total
Powering Equipment fully installed and cabled
ACPDB
dimension | a x b x c
capacity | A
DC equipment
Rectifier A
dimension | a x b x c
capacity | A
DCPDB A
dimension | a x b x c
capacity | A
Rectifier B
dimension | a x b x c
capacity | A
DCPDB B
dimension | a x b x c
capacity | A
Batteries A
dimension | a x b x c
capacity | A
Batteries B
dimension | a x b x c
capacity | A
UPS
dimension | a x b x c
capacity | A
Sub-Total
Air Consitionning fully installed
cooling unit
type
dimension | a x b x c
capacity | W
Sub-Total
Security System
Acces system/intrusion system
type
fire detection system
type
Fire extinguisher system
type
BMS
type
Sub-Total
Cable Landing Station Installation & services
Shipping to Cook Islands
installation on site/in Factory
Commissioning on site
documentation
training on site
5 years consumables for the CLS equipments/services
Sub-Total
TOTAL
Option 1: DGS in Aitutaki fully installed (including tanks, etc)
type
capacity
|  |  | Total | Not applicable for Rarotonga
option 2: installation of CCTV inside & outside the CLS
description
quantity of cameras
Total
Option 3: installation of earth grid provision and installation (<10 Ohms)
description
Total
option 4: CLS extension to its double of capacity
description
Total
Option 5: Contractor's participation for final acceptance
Total
Option 6: Extra space for a meeting room in Aitutaki
area | f m²
description
|  |  | Total | Not Applicable for Rarotonga

## AITUTAKI
AITUTAKI Cable Landing Station
Cable Laying Station | Details | Unit Price | Quantity | Price
CLS Module fully finished as per TS
dimension | a x b x c
surface | m²
Sub-Total
Powering Equipment fully cabled
AC PDB
dimension | a x b x c
capacity | A
DC equipment
Rectifier A
dimension | a x b x c
capacity | A
DCPDB A
dimension | a x b x c
capacity | A
Rectifier B
dimension | a x b x c
capacity | A
DCPDB B
dimension | a x b x c
capacity | A
Batteries A
dimension | a x b x c
capacity | A
Batteries B
dimension | a x b x c
capacity | A
UPS
dimension | a x b x c
capacity | A
Sub-Total
Air Consitionning fully installed
cooling unit
type
dimension | a x b x c
capacity | W
Sub-Total
Security System
Acces system/intrusion system
type
fire detection system
type
Fire extinguisher system
type
BMS
type
Sub-Total
Cable Landing Station Installation & services
Shipping to Cook Islands
installation on site/in Factory
Commissioning on site
documentation
training on site
5 years consumables for the CLS equipments/services
Sub-Total
TOTAL
Option 1: DGS in Aitutaki fully installed (including tanks, etc)
type
capacity
Total
option 2: installation of CCTV inside & outside the CLS
description
quantity of cameras
Total
Option 3: installation of earth grid provision and installation (<10 Ohms)
description
Total
option 4: CLS extension to its double of capacity
description
Total
Option 5: Contractor's participation for final acceptance
Total
Option 6: Extra space for a meeting room in Aitutaki
area | f m²
description
Total